## Slide 1
Investigating the limitations of (open) modification search engines for proteomics DIA data
Robbin Bouwmeester
Evan Ingersoll & Gael McGill - Digizyme

## Slide 2: Replicate all analysis and figures in this presentation with these scripts and notebooks
github.com/RobbinBouwmeester/ASMS_2024_DIA
Notes: DIA data is much more complex as it does not select a single precursor, but fragments multiple at the same time.

## Slide 3
Data-Dependent Acquisition (DDA)
Data-Independent Acquisition (DIA)

## Slide 4
Data-Dependent Acquisition (DDA)
Data-Independent Acquisition (DIA)
m/z
Scan cycle
DDA
m/z
Scan cycle
DIA

## Slide 5
Actin
1
2
3
>3
Modification types (#)
Ramasamy et al. JPR (2020)
Data-Dependent Acquisition (DDA)
Data-Independent Acquisition (DIA)

## Slide 6
-150
+500
Kong et al. Nature Methods (2017); Lazear JPR (2023); Solntsev et al. JPR (2018);
Three categories of open modificiation search strategies for DDA
1) Mass tolerant search

## Slide 7
Open-pFind
2) Multi-pass search
3) Tag-based search
-150
+500
AGV X
LEN ✓
Search space
Peptides + unexpected modifications
First-pass search
Tag prediction
Kong et al. Nature Methods (2017); Lazear JPR (2023); Solntsev et al. JPR (2018); Chi et al. Nature Biotechnology (2018); Degroeve et al. bioRXiv (2022)
Three categories of open modificiation search strategies for DDA
1) Mass tolerant search

## Slide 8
Existing methods for modification searches in DIA data are potentially less sensitive and costly
DDA
DIA-NN
Experimental spectral library
Sensitivity and time+resources
Kong et al. Nature Methods (2017); Demichev et al. Nature methods (2019)

## Slide 9
Existing methods for modification searches in DIA data are potentially less sensitive and costly
DDA
DIA-NN
Experimental spectral library
Predicted spectral library
Sensitivity and time+resources
Kong et al. Nature Methods (2017); Demichev et al. Nature methods (2019)

## Slide 10
Existing methods for modification searches in DIA data are potentially less sensitive and costly
DDA
DIA-NN
Experimental spectral library
MS2
Pseudospectrum
Spectral deconvolution (pseudospectra)
Predicted spectral library
Sensitivity and time+resources
Kong et al. Nature Methods (2017); Demichev et al. Nature methods (2019)

## Slide 11: Modification search in DIA – theoretical analysis
Root cause of issues for identification of modified peptides
Computational limits
Ambiguity
Increased ambiguity
No exact precursor info
Chimeric spectra
Peptide centric approach
Computational speed and memory
Modified peptides behave different
Prediction accuracy for spectral library

## Slide 12
DDA
DIA
MS1
MS2
What are issues with open modification searches, and which are specific to DIA analysis
Computational limits
Search space
Without modifications
With modifications
19.1
19.05
18.8
12.0
Scores
Ambiguity
EEIFGP[Oxidation]VQPLFK
EEIFGPVM[Oxidation]QILK

## Slide 13: Modification search in DIA – theoretical analysis
Root cause of issues for identification of modified peptides
Computational limits
Ambiguity
Increased ambiguity
No exact precursor info
Chimeric spectra
Peptide centric approach
Computational speed and memory
Modified peptides behave different
Prediction accuracy for spectral library

## Slide 14
Ambiguity is an issue that is partly resolved with deep learning; in DIA the issue is exacerbated
EEIFGP[Oxidation]VQPLFK
EEIFGPVM[Oxidation]QILK
Notes: The last decade in CompOmics have developed tools to resolve this ambiguity with ML-models that predict LC-MS peptide behavior.
Now with the prediction of fragment intensity and retention time it is very clear it is more likely the peptide on the left is the true identification.
In my project I will leverage machine learning predictions to resolve the large ambiguity in DIA data to enable multimodification searches.

## Slide 15
Predicted retention time (min): 55.02
Observed retention time (min): 55.36
Predicted retention time (min): 38.02
Observed retention time (min): 55.36
Ambiguity is an issue that is partly resolved with deep learning; in DIA the issue is exacerbated
Gabriels et al. NAR (2019); Bouwmeester et al. Nature Methods (2021)
EEIFGP[Oxidation]VQPLFK
EEIFGPVM[Oxidation]QILK
Notes: The last decade in CompOmics have developed tools to resolve this ambiguity with ML-models that predict LC-MS peptide behavior.
Now with the prediction of fragment intensity and retention time it is very clear it is more likely the peptide on the left is the true identification.
In my project I will leverage machine learning predictions to resolve the large ambiguity in DIA data to enable multimodification searches.

## Slide 16: Regardless of acquisition, number of variable modifications is linked to more ambiguity
Δm/z = 229.0831

## Slide 17: Regardless of acquisition, number of variable modifications is linked to more ambiguity
Δm/z = 229.0831
[“DGG”, “ND”, “NN[Deamidated]”, …]
[229.06986, 229.06987, 229.06988, …]

## Slide 18: Regardless of acquisition, number of variable modifications is linked to more ambiguity
Δm/z = 229.0831
[“DGG”, “ND”, “NN[Deamidated]”, …]
Human SP fasta –
one to trimers (no positional isomers)
[“DGG”, “ND”, “NN[Deamidated]”, …]
[229.06986, 229.06987, 229.06988, …]

## Slide 19: Modification search in DIA – theoretical analysis
Root cause of issues for identification of modified peptides
Computational limits
Ambiguity
Increased ambiguity
No exact precursor info
Chimeric spectra
Peptide centric approach
Computational speed and memory
Modified peptides behave different
Prediction accuracy for spectral library

## Slide 20: A comprehensive LFQ benchmark dataset on modern day acquisition strategies in proteomics
Bart Van Puyvelde
Maarten Dhaenens
Van Puyvelde et al. Scientific Data (2022)

## Slide 21: A comprehensive LFQ benchmark dataset on modern day acquisition strategies in proteomics
Bart Van Puyvelde
Maarten Dhaenens
Van Puyvelde et al. Scientific Data (2022)

## Slide 22: DIA data acquired on the orbitrap shows more than triple the number of peaks in MS1 and MS2
(isolation window ~ 8 m/z)
Peaks in the isolation window (#)
Peaks in an MS2 spectrum (#)

## Slide 23: DIA data acquired on TOF instruments show more than six times the number of peaks in MS1 and MS2
(isolation window ~ 8 m/z)
(isolation window ~ 26 m/z)
Peaks in the isolation window (#)
Peaks in an MS2 spectrum (#)
Peaks in the isolation window (#)
Peaks in an MS2 spectrum (#)

## Slide 24: Quantifying the multi-interpretability with Δm/z values of all pairwise distances (singlemers)
 | Spectrum 1 | …
F (102.079) | 1 | …
G (57.0215) | 2 | …
I/L (113.084) | 1 | …
… | … | …
Δm/z = 102.079
Δm/z = 113.084

## Slide 25: The number of recognized mass shifts for DIA data acquired on the orbitrap has a median that is five times higher

## Slide 26: Modification search in DIA – theoretical analysis
Root cause of issues for identification of modified peptides
Computational limits
Ambiguity
Increased ambiguity
No exact precursor info
Chimeric spectra
Peptide centric approach
Computational speed and memory
Modified peptides behave different
Prediction accuracy for spectral library

## Slide 27: Peptide-centric approach and predicted spectral libraries are computationally infeasible; smart filtering of candidates and predictions on demand
Peptide characters:
Ion type:
Ion ordinal:
Ion intensity:
Retention times:
Total:
3.1 TB
6.53 GB

## Slide 28: Modification search in DIA – theoretical analysis
Root cause of issues for identification of modified peptides
Computational limits
Ambiguity
Increased ambiguity
No exact precursor info
Chimeric spectra
Peptide centric approach
Computational speed and memory
Modified peptides behave different
Prediction accuracy for spectral library

## Slide 29: Modified peptides behave substantially different compared to their non-modified counterparts
Zolg et al. MCP (2018); Will et al. Analytical & Bioanalytical Chemistry (2023)

## Slide 30
Modified peptides behave substantially different compared to their non-modified counterparts
Zolg et al. MCP (2018); Will et al. Analytical & Bioanalytical Chemistry (2023)

## Slide 31: Modifications can shift the retention time outside of the expected range, this has great consequences

## Slide 32: Use modification aware behavior predictors when interested in peptide modifications
AlphaPeptDeep
pDeep3
Zeng et al. Nature Communications (2022); Tarn et al. Analytical Chemistry (2021); Declercq & Devreese et al. JPR (2025)

## Slide 33: Conclusions and outlook
Existing methods (DDA library and pseudospectra) are likely less sensitive and costly in terms of resources and time
DIA data is inherently more convoluted and thus has substantially higher identification ambiguity compared to DDA data, especially for modification searches
Resolving Ambiguity
  Accurate predictions for (unseen) modified peptides (DeepLC, IM2Deep, MS2DIP, PDeep3, AlphaPeptDeep, Prosit-PTM, …)
  Transfer learning/fine-tuning to specific instruments
  Rescoring with deconvolution features
Computational feasibility
  Peptide centric approach is likely unfeasible (~500x search space)
  Filter the search space (tags, charge state prediction, strict retention time)
  Predictions on demand or precalculated databases that are highly indexed (still high storage demands)

## Slide 34
Alireza Nameni
Arthur Declercq
Caroline Jachmann
Enrico Massignani
Harikrishnan Ramadasan
Jasper Zuallaert
Kevin Velghe
Lyudmila Kovalchuke
Natalia Tichshenko
Pathmanaban Ramasamy
Patricia Lefèvre
Pieter Verschaffelt
Ralf Gabriels
Robbe Devreese
Sam van Puyenbroeck
Tanja Holstein
Tim Van Den Bossche
Tine Claeys
Toon Callens
Alexander Kensert
Sakina Bombaywala
Lennart Martens
Daria Fijalkowska
Christophe Vanderaa
Notes: Then it only leaves for me to thank my supervisors and colleagues for their support, and I am happy to take questions.

## Slide 35: Modification-aware predictors are increasingly available; for example, models for retention times, ion mobility, and fragment intensity
Mean shift due to acetyl: 248 s (6.23%)
Robbe Devreese
Bouwmeester et al. Nature methods (2021)

## Slide 36: With increased ambiguity, the need for accurate predictions is even higher to resolve ambiguous identifications; unfortunately…
Sequence: AAC[Carbamidomethyl]LLPK/2
RT: 6.21
Ion mobility: 0.779
Sequence: AAC[Carbamidomethyl]LLPK[Butyryl]/2
RT: 6.21
Ion mobility: 0.779
Sequence: QTALVELVKHK/2
RT: 14.19
Ion mobility: 1.019
Sequence: QT[Phospho]ALVELVKHK/2
RT: 0.26
Ion mobility: 1.024
Bittremieux Anal. Chem. (2019); Demichev et al. Nature methods (2019)
Predictions - Butyryl modified peptide
Predictions - Phospho modified peptide

## Slide 37: Histone dataset, that is highly modified, shows some of the limitations of DIA-NN predicted libraries
Spectral angle: 0.71
Pitfalls in histone propionylation during bottom‐up mass spectrometry analysis - PMC (nih.gov)
Chemical derivatization of histones for facilitated analysis by mass spectrometry | Nature Protocols
Sigrid Verhelst
Maarten Dhaenens
Propionylation
Trypsin digest
Propionylation
Predicted spectrum DIA-NN
Experimental spectrum

## Slide 38: MS2DIP is a modification aware predictor for fragment intensities; histone derived peptides clearly outline the need for these predictors
Declercq et al. MCP (2022)
Ralf Gabriels
ThOG am: Artificial Intelligence in MS Instrumentation and Applications Thursday 8:30
Ballroom AB (Level 3)
MS2DIP: Embracing post-translational modifications for spectrum intensity prediction with molecular embeddings

## Slide 39: MS2DIP is a modification aware predictor for fragment intensities; histone derived peptides clearly outline the need for these predictors
Declercq et al. MCP (2022)